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Product overview
An 8-inch colour touchscreen and PLC control manage abrasive spraying, grinding pressure and preparation time. The current preparation recipe can be stored for reuse. Up to eight specimen blocks can be ground and polished together, with optional special fixtures for non-standard sizes. Suitable specimen materials include ferrous and non-ferrous metals, alloys, ceramics, rocks, glass, electronic components and other materials.
Specifications
	Model
	ZMP-1000Z

	Machine body configuration
	Benchtop, single disc (automatic head locking)

	Clamping capacity
	8 specimens (30mm*6+40mm*2; custom specimen sizes available)

	Grinding and polishing configuration
	intelligent automatic 

	Pressure application
	Central loading / pneumatic individual loading

	Control method
	Color touchscreen, PLC control

	Operating system
	intelligent automatic 

	Grinding/polishing speed
	Stepless speed control (50-1500 rpm)

	Grinding head speed
	20-200 rpm (automatic speed control)

	Grinding and polishing method
	intelligent  / automatic  / manual 

	Preparation settings
	Stores up to 100 grinding and polishing programs

	Pressure loading
	Automatic loading and programmed changeover

	Abrasive dosing
	Two-channel automatic dosing

	Dosing time
	Programmable; minimum spray duration 0.1S

	Dosing interval
	Programmable; minimum dosing interval 0.1S

	Cooling method
	water cooled

	Grinding/polishing changeover
	manual 

	Preparation time
	0-9999 s

	Main unit power
	1000W

	Specimen preparation diameter
	30mm*6+40mm*2 (special sizes optional)

	Grinding disc diameter
	230mm  (optional  200, 250, 300mm)

	Power supply
	220V/50HZ

	Dimensions
	450mm*650mm*700mm( L * W * H)

	Net weight
	80KG

	Gross weight
	95KG


Contact
Phone: 400-8127-833 / +86-21-58391850
Email: shanghai@yr17.net
Address: No.1478 Nanfeng Highway, Fengxian District, Shanghai, China
Website: www.cnnoet.com
Compiled from published product information. Final configuration follows the technical agreement; confirm options, fixtures and scope with an application engineer.
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