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Product overview
Designed for sampling miniature components, the ZQ-50DWE uses a floor-standing, high-speed cutting arrangement with touchscreen operation and a PLC control system. Compatible specimen materials include metals, ceramics, glass, rocks, crystals and electronic components. The machine is intended for precision sectioning of these small workpieces as part of specimen preparation, with the cutting task centred on the particular component being examined.
Specifications
	Model
	ZQ-50DWE

	Main functions
	Precision cutting, continuous slicing and fixed-depth grooving

	Spindle speed
	200 - 3000r/min (stepless speed control)

	X table movement
	70mm (automatic )

	Z travel
	70mm (automatic )

	Y travel
	100mm (automatic )

	Control system
	color touchscreen, PLCcontrol system

	Maximum cutting diameter
	Φ50mm

	Cutting modes
	Vertical, layered, horizontal and coordinated cutting

	Feed method
	Adjustable advance/retract ratio

	Effective travel
	70 + 100 + 70mm

	Progress tracking
	LCD digital display (real-time)

	Cutting table dimensions
	240 * 200mm

	Maximum wheel dimensions
	Φ180 * 1.2 * Φ25.4mm

	Cutting speed
	1 - 200mm/min

	Speed adjustment during operation
	adjustable / automatic reset

	Cooling system
	Automatic recirculating water cooling

	Tank capacity
	40L

	Motor power
	1.5KW

	Power supply
	220V

	Dimensions
	900 * 700 * 550mm (L * W * H)

	Net weight
	100KG

	Gross weight
	120KG


Contact
Phone: 400-8127-833 / +86-21-58391850
Email: shanghai@yr17.net
Address: No.1478 Nanfeng Highway, Fengxian District, Shanghai, China
Website: www.cnnoet.com
Compiled from published product information. Final configuration follows the technical agreement; confirm options, fixtures and scope with an application engineer.
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