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Product overview
The powder is used with a mounting press to form metallographic specimens. The stated preparation cycle is 8–15 minutes with a holding temperature of 130–160°C.
Specifications
	Capacity 500ml, 1000ml
	


Contact
Phone: 400-8127-833 / +86-21-58391850
Email: shanghai@yr17.net
Address: No.1478 Nanfeng Highway, Fengxian District, Shanghai, China
Website: www.cnnoet.com
Compiled from published product information. Final configuration follows the technical agreement; confirm options, fixtures and scope with an application engineer.
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